CONTROL EXCESSIVE MOISTURE TO ELIMINATE MOLD IN THE HOME

Sources: Linda R. Adler and Environmental Protection Agency

Excess moisture or water accumulation indoors often causes mold growth, especially if the problem is hidden or isn=t addressed. This contributes to health problems for people with existing respiratory problems such as asthma, allergies and multiple chemical sensitivity.

Mold spores continually waft through indoor and outdoor air. When spores land on a damp spot indoors, they begin to grow and digest whatever they=re growing on to survive. Molds can grow on wood, paper, carpet, foods and even dynamite.

Mold growth often is a problem after flooding.

Although there=s no practical way to eliminate all mold and mold spores, you can constrain mold growth inside your home by cleaning up existing mold problems and eliminating sources of excessive moisture.

It=s impossible to completely remove mold from porous surfaces such as paper, drywall and carpet padding, so these type materials should be removed and discarded.

To remove mold from non-porous materials, brush surfaces with a detergent solution and rinse well. Be sure your work area is well-ventilated. Then apply a solution of water and chlorine bleach, according to label directions, to the cleaned surface; leave it on for 15 minutes; rinse well, and dry quickly.

Just splashing full-strength bleach will not remove mold. The surface must be cleaned as described above.

There are many ways to eliminate sources of moisture, including the following:

Maintain indoor humidity at 30 to 60 percent. To reduce it, vent bathrooms, dryers and other moisture-generating sources to the outside and use exhaust fans or open windows in kitchens when cooking or using the dishwasher and in bathrooms when showering or bathing. Use air conditioners and de-humidifers. To improve ventilation, use fans.

Fix leaky plumbing or other sources of excess water.

Clean and dry any damp or wet building materials and furnishings within 24 to 48 hours.

Reduce the potential for condensation on cold surfaces such as windows, piping, exterior walls, floors or the roof by adding insulation. Don=t install carpeting in areas where there is a perpetual moisture problem, such as concrete floors.

Keep drip pans in the air conditioner, refrigerator and de-humidifer clean and dry.

For more information, contact your (COUNTY NAME) Cooperative Extension Service.

Educational programs of the Cooperative Extension Service serve all people regardless of race, color, age, sex, religion, disability or national origin.

-30-